## Sheet1
Round 1
1 |  | 2 |  | 3 |  | 4
week_tr, week_ts = [21, 22, 23, 24, 25, 26, 27, 33], [30] |  | week_tr, week_ts = [21, 22, 23, 24, 25, 26, 27, 30], [33] |  | week_tr, week_ts = [33], [30] |  | week_tr, week_ts = [30], [33]
p14p1 | 0.8832 | Power Meter LT | 0.9068 | Power Meter LT | 0.8889 | Power Meter LT | 0.8889
T11 LT discharge | 0.8755 | T11 LT discharge | 0.9083 | T11 LT discharge | 0.8198 | T11 LT discharge | 0.8198
Power Meter LT | 0.8834 | P2 receiver | 0.9003 | T15 Aux_HP suction | 0.8473 | T15 Aux_HP suction | 0.8473
T3 GC Outlet | 0.876 | mvd | 0.9024 | mbt | 0.8068 | mbt | 0.8068
T14 MT suction | 0.8713 | T14 MT suction | 0.9043 | T14 MT suction | 0.8976 | T14 MT suction | 0.8976 | ADDED
mac | 0.8767 | T9 MT section outlet | 0.9054 | T7 Ejector inlet | 0.9035 | T7 Ejector inlet | 0.9035
P1 discharge | 0.8828 | stt | 0.9158 | MT evaporation temp | 0.855 | MT evaporation temp | 0.855
T4 Inlet IHX 1 | 0.8761 | T6 Receiver | 0.9026 | T9 MT section outlet | 0.9032 | T9 MT section outlet | 0.9032
T2 After AHU | 0.8779 | T6 Receiver sat | 0.9011 | T5 Inlet IHX 2 | 0.8276 | T5 Inlet IHX 2 | 0.8276
T8 Liquid out IHX | 0.8746 | T8 Liquid out IHX | 0.9087 | stt | 0.823 | stt | 0.823
T10 LT suction | 0.8745 | T10 LT suction | 0.9085 | T10 LT suction | 0.8005 | T10 LT suction | 0.8005
T12 Intercooler outlet | 0.8767 | T12 Intercooler outlet | 0.9037 | T13 out intercooler and MT section | 0.9081 | T13 out intercooler and MT section | 0.9081
T13 out intercooler and MT section | 0.8709 | T13 out intercooler and MT section | 0.9059 | T19 Outlet AHU (cooling) | 0.8412 | T19 Outlet AHU (cooling) | 0.8412
T18 Outlet AHU (heating) | 0.8778 | T23 LT section outlet | 0.9056 | T20 Outlet AHU (cooling) | 0.9032 | T20 Outlet AHU (cooling) | 0.9032
T23 LT section outlet | 0.8855 | LT evaporation temp | 0.9066 | T23 LT section outlet | 0.8855 | T23 LT section outlet | 0.8855
LT evaporation temp | 0.8748 | AHU saturation temp | 0.9011 | LT evaporation temp | 0.9031 | LT evaporation temp | 0.9031
Tair external air | 0.8826 | P4 LT suction | 0.9066 | P4 LT suction | 0.9032 | P4 LT suction | 0.9032
P4 LT suction | 0.8748 | M2 AHU vapour (heating) | 0.9035 | M2 AHU vapour (heating) | 0.9013 | M2 AHU vapour (heating) | 0.9013
P7 ejector inlet | 0.8823 | M4 LT liquid | 0.9073 | M4 LT liquid | 0.8819 | M4 LT liquid | 0.8819
M4 LT liquid | 0.8833 | 1 Enthalpy | 0.907 | Mtotal AHU | 0.8483 | Mtotal AHU | 0.8483
Power Meter AUX | 0.8773
Total Power | 0.8741
Round 2
1 |  | 2 |  | 3 |  | 4
p14p1 | 0.8747 | Power Meter LT | 0.9071 |  |  | T7 Ejector inlet | 0.8991
T11 LT discharge | 0.8756 | T11 LT discharge | 0.9079 |  |  | T20 Outlet AHU (cooling) | 0.8988
Power Meter LT | 0.8844 | mvd | 0.9082 |  |  | LT evaporation temp | 0.9003
T3 GC Outlet | 0.8804 | stt | 0.9091 |  |  | P4 LT suction | 0.8998
mac | 0.8715 | T8 Liquid out IHX | 0.9085 |  |  | M2 AHU vapour (heating) | 0.8914
P1 discharge | 0.8742 | T10 LT suction | 0.9086
T4 Inlet IHX 1 | 0.8807 | T23 LT section outlet | 0.9055
T2 After AHU | 0.8741 | M4 LT liquid | 0.9078
T8 Liquid out IHX | 0.8756
T10 LT suction | 0.8754
T12 Intercooler outlet | 0.875
T18 Outlet AHU (heating) | 0.8736
T23 LT section outlet | 0.8831
Tair external air | 0.8828
P7 ejector inlet | 0.8739
M4 LT liquid